## Sheet1
National Fuel Conservation Incentive Program Year 6
Small Non-Residential Rebate Energy Analysis Worksheet - Space Heating Equipment
Equipment Installed Between January 1, 2013 through December 31, 2013
1. Items needed to complete the Energy Analysis Worksheet
1. Description of facility, including square footage and structure.
2. Name and model number of existing equipment.
3. 12-Month gas usage.
4. Customer's current cost of gas.
5. Obtain project cost for standard efficiency equipment.
6. Obtain project cost for high efficiency equipment.
2. Instructions
1. Complete description of project in Section I (replace blue text).
2. Complete sections below that are in gray.
A. Enter 12-month gas usage, starting with the month of January in Section II - Energy Savings Calculation.
B. Enter customer's cost of gas in CCFs in Section II - Energy Savings Calculation (this can be obtained from
your gas bill or by calling National Fuel).
C. Enter project cost and efficiency for high efficiency and standard efficiency units in Section IV - Customer Payback
for Incremental Cost.
I. Project Description
Name of Business is a facility size, square footage square foot, facility structure, i.e., one story located in city, state. The facility had been heated
by name and model number of existing equipment that is being replaced with an input rating of input rating. Based on the age of the equipment
and nameplate ratings, the efficiency of the unit was determined to be efficiency of unit being replaced.
Name and model number of new equipment replaced the existing equipment. The new unit is rated at efficiency percentage AFUE and the new
unit is described new equipment efficiency.
II. Energy Savings Calculation
|  | Baseload Consumption | CCF | MCF | 12-Month Gas Usage Chart**
| *Non-Heating (base load) gas consumption averaged |  | 333.3333 | 33.3333 | Usage Month |  | CCF | MCF
| Total Annual Base Load |  | 4000 | 400 | 2008-01-08 |  | 3250 | 325
| *Base load calculated by averaging consumption during summer months (Jul, Aug & Sep) |  |  |  | 2008-02-08 |  | 3000 | 300
[5 empty] | 2008-03-08 |  | 1500 | 150
|  | Heating Consumption | CCF | MCF | 2008-04-08 |  | 1000 | 100
| Total 12-Month Consumption |  | 17500 | 1750 | 2008-05-08 |  | 750 | 75
| Base Load |  | 4000 | 400 | 2008-06-08 |  | 500 | 50
| Total Heating Consumption |  | 13500 | 1350 | 2008-07-08 | * | 250 | 25
[5 empty] | 2008-08-08 | * | 250 | 25
|  | Heating Efficiency Difference | AFUE Rating |  | 2008-09-08 | * | 500 | 50
| New Equipment Heating Efficiency |  | 95% |  | 2008-10-08 |  | 1000 | 100
| Standard Equipment Heating Efficiency |  | 80% |  | 2008-11-08 |  | 2500 | 250
| Total Heating Efficiency Difference |  | 15% |  | 2008-12-08 |  | 3000 | 300
[5 empty] | Total |  | 17500 | 1750
|  | Estimated Gas Savings | CCF | MCF | **12-Month gas usage and customer cost of
| Existing Annual Heating Consumption |  | 13500 | 1350 | gas can be obtained by calling National Fuel
| New Annual Heating Consumption |  | 11368.4211 | 1136.8421 | at 1-800-365-3234.
| Total Estimated Gas Savings (B) |  | 2131.5789 | 213.1579
| Customer Gas Cost** |  | 0.957 | 9.57
| Total Estimated Cost Savings (C) |  |  | 2039.9211
III. Potential Rebate Calculation
$25,000 Maximum Incentive Per Project
| Potential Rebate, lesser of $25,000 or Estimated Gas Savings (B) x $15/MCF |  |  | 3197.3684
IV. Customer Payback for Incremental Cost
| Project Total Installed Cost |  | Dollar Amount | AFUE Rating
|  | High Efficiency Project Cost | 15000 | 95%
|  | Standard Efficiency Project Cost | 7500 | 80%
|  | Incremental Cost (A) | 7500
| Customer Payback for Incremental Cost |  | Without Rebate | With Rebate
| Incremental Cost (A) |  | 7500 | 7500
| Potential Rebate |  | 0 | 3197.3684
| Net Incremental Cost |  | 7500 | 4302.6316
| Total Estimated Cost Savings (C) |  | 2039.9211 | 2039.9211
|  |  | 15.2 | 13.8
| Incremental Cost Payback |  | 3.7 Years | 2.1 Years
Important: This worksheet provides an estimated rebate amount. Actual rebate amounts may vary depending on the type of equipment installed, facility size and fuel
usage. Consult a professional contractor for exact data.